## 说明文档
ReactNativeSDK数据传递规范
Versions
Version | Date | Description | Remark
0.1 | 2016.12.12 | File Create

## BTLE Uni
BTLE Universal
Interface methods | input | output | error | example
startDiscovery | deviceType | msg(ScanDevice),mac,type | NA | { "mac" : "004D32031D22", "type" : "BP3L" }
stopDiscovery | deviceType | msg(ScanFinish) |  | 空
connectDevice | mac | msg(DeviceConnected),mac,type msg(deviceDisconnect),mac,type msg(deviceConnectFailed),mac,type |  | { "mac" : "004D32031D22", "type" : "BP3L" }
getIDPS | mac | msg(IDPS),hardwareversion,firmwareversion,address,name,accessoryname,modenumber,serialnumber,manufacture |  | { "address" : "8CDE5213E27A", "accessoryname" : "BP Monitor", "manufacture" : "iHealth", "hardwareversion" : "1.0.0", "modenumber" : "BP5 11070", "serialnumber" : "8CDE5213E27A", "msg" : "IDPS", "name" : "BP5", "firmwareversion" : "1.1.0" }

## PO
PO
Interface methods | input | output | error | example
startDiscovery | none | msg(Discovery),address,name | errorid： 0：Bluetooth Communication Error 1：Data access error 2：Abnormal hardware 3：SpO2 or PRbpm test result is beyond the measurement range of the system 4：Unknown interference detected, please test again 5: Send Command Faild 400：No Device 500：The instruction is still in execution 600：The input parameter errors 700: unauthorized 800：Does not support { "producttype" : "PO", "errorid" : 800, "msg" : "Error", "productmodel" : "PO3", "address" : "000001" } | { "msg" : "Discovery", "address" : "004D32031D22", "name" : "PO3" }
stopDiscovery | none | msg(DiscoveryDone),name |  | { "msg" : "DiscoveryDone", "name" : "PO3" }
connectDevice | mac | msg(Connected),address,name |  | { "msg" : "Connected", "address" : "004D32031D22", "name" : "PO3" }
getIDPS | mac | msg(IDPS),hardwareversion,firmwareversion,address,name,accessoryname,modenumber,serialnumber,manufacture |  | { "address" : "8CDE5213E27A", "accessoryname" : "PO Monitor", "manufacture" : "iHealth", "hardwareversion" : "1.0.0", "modenumber" : "PO3 11070", "serialnumber" : "8CDE5213E27A", "msg" : "IDPS", "name" : "PO3", "firmwareversion" : "1.1.0" }
startMeasure | mac | msg(RealTime),address,realtime,name msg(Result),address,result,name |  | { "msg" : "RealTime","name" : "PO3", "address" : "004D32031D22", "realtime" : {"wave" : [440,424,643],"heartrate" : 0,"bloodoxygen" : 0,"pulsestrength" : 0,"pi" : 4.431853} } { "msg" : "Result","name" : "PO3", "address" : "004D32031D22", "result" : {"wave" : [440,424,643],"heartrate" : 0,"bloodoxygen" : 0,"pulsestrength" : 0,"pi" : 4.431853} }
getOfflineData | mac | msg(History),address,history,name,wave msg(NoData),address,name |  | { "msg" : "History", "address" : "004D32031D22", "name" : "PO3", "history" : { "bloodoxygen " :2, "date" : "2015-09-08 15:13:57","heartrate" : 98}，"wave" : [0,1] } { "msg" : "NoData", "address" : "004D32031D22", "name" : "PO3" }
getBattery | mac | msg(Battery),address,battery,name |  | { "msg" : "Battery", "address" : "004D32031D22", "battery" : 30, "name" : "PO3" }
disConnectDevice | mac | msg(Disconnect),address,name |  | { "msg" : "Disconnect", "address" : "004D32031D22", "name" : "PO3" }
setDisconnectCallback | none | none |  | none

## BP
BP
Interface methods | input | output | error | example
startMeasure | mac | msg(ZeroDoing),address,name msg(ZeroDone),address,name msg(MeasureDoing),address,name,pressure,wave msg(MeasureDone),address,name,highpressure,lowpressure,heartrate,arrhythmia |  | { "msg" : "ZeroDoing", "address" : "004D32031D22", "name" : "BP3L/BP5" } { "msg" : "ZeroDone", "address" : "004D32031D22", "name" : "BP3L/BP5" } { "msg" : "MeasureDoing", "address" : "004D32031D22", "pressure":"20", "name" : "BP3L/BP5" } { "msg" : "MeasureDoing", "address" : "004D32031D22", "wave":[15,15,16], "name" : "BP3L/BP5", "pressure":"20" } { "msg" : "MeasureDone", "address" : "004D32031D22", "name" : "BP3L/BP5", "highpressure" : 120, "lowpressure" : 80, "heartrate" : 60, "arrhythmia" : true }
stopMeasure | mac | msg(StopMeasure),address,name |  | { "msg" : "StopMeasure", "address" : "004D32031D22", "name" : "BP3L/BP5" }
enableOffline | mac | msg(EnableOffLine),address,name (BP3L Not Support) |  | { "msg" : "EnableOffLine", "address" : "004D32031D22", "name" : "BP5" }
disenableOffline | mac | msg(DisableOffLine),address,name (BP3L Not Support) |  | { "msg" : "DisableOffLine", "address" : "004D32031D22", "name" : "BP5" }
getOfflineNum | mac | msg(OfflineNum),address,offlinenum,name |  | { "msg" : "OfflineNum", "address" : "004D32031D22", "offlinenum":10, "name" : "BP5" }
getOfflineData | mac | msg(OfflineData),address,offlinedata,name |  | { "offlinedata" : [ { "heartrate" : 81, "dia" : 49, "sys" : 111, "arrhythmia" : false, "date" : "2015-12-16 00:30:00" } ], "msg" : "OfflineData", "name" : "BP5", "address" : "8CDE5213E27A" }
getBattery | mac | msg(Battery),address,battery,name |  | { "msg" : "Battery", "address" : "004D32031D22", "battery":10, "name" : "BP3L/BP5" }
isEnableOffline | mac | msg(OfflineStatus),address,offlinestatus,name (BP3L Not Support) |  | { "msg" : "OfflineStatus", "address" : "004D32031D22", "offlinestatus":true, "name":"BP5 }
disConnectDevice | mac | msg(Disconnect),address,name ( BP5 Not Support) |  | { "msg" : "Disconnect", "address" : "004D32031D22", "name" : "BP3L" }
setDisconnectCallback | none | none |  | none

## BG
BG
Interface methods | input | output | error | example
startDiscovery | none | msg(Discovery),address,name | errorid： 0：Battery is low. 1：Glucose test result is out of the measurement range. 2：Unknown interference detected, please repeat the test. 3：Strip is used or unknown moisture detected, discard the test strip and repeat the test with a new strip. 4：Reading transmission error. Repeat the test with a new test strip. If the problem persists, contact iHealth customer service for assistance. 5：The environmental temperature is beyond normal range, place the meter at room temperature for at least 30 minutes, then repeat the test. 6：The environmental temperature is beyond normal range, place the meter at room temperature for at least 30 minutes, then repeat the test. 7：Test strip coding error. 8：Communication error, press“START” or rescan the code to repeat the test. 9：Strip removed in the middle of reading, repeat the test with a new strip. 10：Insert a new test strip and repeat the test. 400：No Device 500：The instruction is still in execution 600：The input parameter errors 700: unauthorized 800：Does not support{ "producttype" : "HS", "errorid" : 800, "msg" : "Error", "productmodel" : "HS4SHS4S", "address" : "000001" } | { "msg" : "Discovery", "address" : "004D32031D22", "name" : "BG5" }
stopDiscovery | Not Support | Not Support
connectDevice | mac | msg(Connected),address,name |  | { "msg" : "Connected", "address" : "004D32031D22", "name" : "BG5" }
getIDPS | mac | msg(IDPS),hardwareversion,firmwareversion,address,name,accessoryname,modenumber,serialnumber,manufacture |  | { "address" : "8CDE5213E27A", "accessoryname" : "BG Monitor", "manufacture" : "iHealth", "hardwareversion" : "1.0.0", "modenumber" : "BG5 11070", "serialnumber" : "8CDE5213E27A", "msg" : "IDPS", "name" : "BG5", "firmwareversion" : "1.1.0" }
setUnit | mac,unit(1:mmol/L 2:mg/dL) | msg(SetUnit),address,name |  | { "msg" : "SetUnit", "address" : "004D32031D22", "name" : "BG5" }
setBottleId | mac,BottleId | msg(SetBottleID),address,name |  | { "msg" : "SetBottleID", "address" : "004D32031D22", "name" : "BG5" }
getBottleId | mac | msg(BottleID),bottleid,address,name |  | { "msg" : "BottleID", "bottleid" : 35070346, "address" : "004D32031D22", "name" : "BG5" }
setBottleMessage | mac,qr(format：024C565F4C5614322D1200A02F3485B6F314378BACD619011F72003608A9), leftNum, time(format：2015-09-03) | msg(SetBottleMessage),address,name |  | { "msg" : "SetBottleMessage", "address" : "004D32031D22", "name" : "BG5" }
getBottleMessage | mac | msg(BottleMessage),bottleid,address,usednum,expiretime(format:2016-01-19),name |  | { "usednum" : 5, "expiretime" : "2016-01-19", "msg" : "BottleMessage", "bottleid" : 32768060, "address" : "004D32031D22", "name" : "BG5" }
getBattery(More than BG5 6.0.0 version support) | mac | msg(Battery),battery,address,(More than BG5 6.0.0 version support),name |  | { "msg" : "Battery", "battery" : 66, "address" : "004D32031D22", "name" : "BG5" }
getOfflineData | mac | msg(HistoryDataCount),count,address,name msg(HistoryData),history(result(144),date(2015-10-30 16:33:00)),address,name |  | { "msg" : "HistoryDataCount", "count" : 3, "address" : "004D32031D22", "name" : "BG5" } { "msg" : "HistoryData", "history" : [ { "result" : 376, "date" : "2015-12-07 11:35:00" }, { "result" : 376, "date" : "2015-12-07 11:35:00" } ], "address" : "004D32031D22", "name" : "BG5" }
deleteOfflineData | mac | msg(DeleteOffLineData),address,name |  | { "msg" : "DeleteOffLineData", "address" : "004D32031D22", "name" : "BG5" }
holdLink | mac | msg(HoldLink),address,name |  | { "msg" : "HoldLink", "address" : "004D32031D22", "name" : "BG5" }
startMeasure | mac | msg(StripIn),address,name msg(Blood),address,name msg(Result),result(BG test Result),address,name |  | { "msg" : "StripIn", "address" : "454D32031D22" "name" : "BG5" } { "msg" : "Blood", "address" : "454D32031D22" "name" : "BG5" } { "msg" : "Result", "address" : "454D32031D22", "result" : 29 "name" : "BG5" }
codeStripStrAnalysis | mac,codeStr | msg(CodeInfo),bottleid,stripnum,DueDate(2015-11-18),address,name |  | { "name" : "BG5", "duedate" : "2015-11-18", "msg" : "CodeInfo", "bottleid" : 3546994, "stripnum" : 25, "address" : "8CDE5208CCF4" }
disConnectDevice | mac | Not Support
setDisconnectCallback | none | none |  | none

## AM
AM
Interface methods | input | output | error | example
startDiscovery | none | msg(Discovery),address,name | errorid： 0：AMErrorOverTime 400：No Device 500：The instruction is still in execution 600：The input parameter errors 700: unauthorized 800：Does not support { "producttype" : "HS", "errorid" : 800, "msg" : "Error", "productmodel" : "HS4S", "address" : "000001" } | { "msg" : "Discovery", "address" : "004D32031D22", "name" : "AM3S" }
stopDiscovery | none | msg(DiscoveryDone),name |  | { "msg" : "DiscoveryDone", "name" : "AM3S" }
connectDevice | mac | msg(Connected),address,name |  | { "msg" : "Connected", "address" : "004D32031D22", "name" : "AM3S" }
getIDPS | mac | msg(IDPS),hardwareversion,firmwareversion,address,name,accessoryname,modenumber,serialnumber,manufacture |  | { "address" : "8CDE5213E27A", "accessoryname" : "Activity Monitor", "manufacture" : "iHealth", "hardwareversion" : "1.0.0", "modenumber" : "AM3S 11070", "serialnumber" : "8CDE5213E27A", "msg" : "IDPS", "name" : "AM3S", "firmwareversion" : "1.1.0" }
resetDevice | mac | msg(ResetDevice),address,name |  | { "msg" : "ResetDevice", "address" : "004D32031D22" "name" : "AM3S" }
getUserId | mac | msg(UserID),userid(userID),address,name |  | { "msg" : "UserID", "address" : "004D32031D22", "userid" : 123456, "name" : "AM3S" }
setUserId | mac,userid | msg(SetUserID),address,name |  | { "msg" : "SetUserID", "address" : "004D32031D22", "name" : "AM3S" }setUserMessage
setUserMessage | mac,age, weight, height, sex, lengthType, activityLevel, target, hourType | msg(SetUserMessage),address,name |  | { "msg" : "SetUserMessage", "address" : "004D32031D22" "name" : "AM3S" }
getUserMessage | mac | msg(UserInfo),address,name,userinfo(target1,target2,target3,step, gender(Male:1 female:0),weight,unit(Metric system metric 0 x01 imperial 0 x00),height,age) |  | { "msg" : "UserInfo", "address" : "004D32031D22", "userinfo" : { "target2" : 5000, "step" : 1, "target3" : 2500, "gender" : 0, "weight" : "69.0", "unit" : 1, "target1" : 10000, "height" : 176, "age" : 29 } "name" : "AM3S" }
getClockDetail | mac | msg(AlarmClockNumber),address,alarmclocknumber(clock number),name msg(AlarmClockDetail),address,alarmclockdetail(),name |  | { "msg" : "AlarmClockNumber", "address" : "004D32031D22", "alarmclocknumber" : 1, "name" : "AM3S" } { "msg" : "AlarmClockDetail", "address" : "004D32031D22", "name" : "AM3S", "alarmclockdetail" : [ { "fri" : false, "switch" : true, "repeat" : false, "tue" : false, "mon" : false, "sun" : false, "wed" : false, "thu" : false, "alarmid" : 1, "time" : "08:57", "sat" : false } ] }
setClock | mac,clockID, hour, min, repeat, weeks, open | msg(SetClock),name,adress |  | { "msg" : "SetClock", "address" : "004D32031D22", "name" : "AM3S" }
deleteClock | mac,clockID | msg(DeleteClock),address,name |  | { "msg" : "DeleteClock", "address" : "004D32031D22", "name" : "AM3S" }
getRemind | mac | msg(Remind),address,remind(switch(false/true),time(12:00)),name |  | { "msg" : "Remind", "address" : "004D32031D22", "name" : "AM3S", "remind" : [ { "switch" : true, "time" : "08:20" } ] }
setRemind | mac,Switch(false/true),Time(12:00) | msg(SetRemind),address,name |  | { "msg" : "SetRemind", "address" : "004D32031D22", "name" : "AM3S" }
getActivityMessage | mac | msg(Activity),address,activity([(step,stepsize,calorie,time)]),name |  | { "msg" : "Activity", "address" : "004D32031D22", "name" : "AM3S", "activity" : [ { "step" : 0, "stepsize" : 81, "calorie" : 0, "time" : "2015-08-30 00:05:00", } ] }
getSleepMessage | mac | msg(Sleep),address,sleep([(level,time(2015-09-04 06:00:21))]),name |  | { "msg" : "Sleep", "address" : "004D32031D22", "name" : "AM3S", "sleep" : [ [ { "level" : 1, "time" : "2015-08-30 04:09:22" } ] ] }
getRealTimeMessage | mac | msg(RealTime),address,realtime(step,calorie),name |  | { "msg" : "RealTime", "address" : "004D32031D22", "name" : "AM3S", "realtime" : { "step" : 0, "calories" : 0 } }
getHourType | mac | msg(GetHourType),hourtype(0:TimeFormat_HH 24 1:TimeFormat_hh 12),name |  | { "msg" : "GetHourType", "address" : "004D32031D22", "name" : "AM3S", "hourtype" : 0 }
setHourType | mac,hourType(0:TimeFormat_HH 24 1:TimeFormat_hh 12) | msg(SetHourType),address,name |  | { "msg" : "SetHourType", "name" : "AM3S", "address" : "004D32031D22" }
setRandom | mac | msg(SetRandom),address,radom(random),name |  | { "msg" : "SetRandom", "address" : "004D32031D22", "name" : "AM3S", "radom" : "784197" }
getStageMessage | mac | msg(StageForms),address,stageforms(),name |  | { address = 004D32031D22; msg = "StageForms"; "name" : "AM3S", stageforms = [ { "type"="workout"; "stoptime" = "2015-09-03 21:17:00"; "step" = 1925; "calorie" = 1925; "distance" = 1; "usedtime" = 997; } ] }
getBattery | mac | msg(Battery),address,battery(0-100),name |  | { "msg" : "Battery", "address" : "004D32031D22", "battery" : 30, "name" : "AM3S" }
disConnectDevice | mac | msg(Disconnect),address,name |  | { "msg" : "Disconnect", "address" : "004D32031D22", "name" : "AM3S" }
setDisconnectCallback | none | none |  | none

## HS4S
HS
Interface methods | input | output | error | example
startDiscovery | none | msg(Discovery),address,name | errorid： 1：Battery level is low 2：The Scale failed to initialize 3：Maximum weight has been exceeded 4：The Scale can't capture a steady reading 5: Bluetooth connection error 8: Scale memory access error 400：No Device 500：The instruction is still in execution 600：The input parameter errors 700: unauthorized 800：Does not support { "producttype" : "HS", "errorid" : 800, "msg" : "Error", "productmodel" : "HS4SHS4S", "address" : "000001" } | { "msg" : "Discovery", "address" : "004D32031D22", "name" : "HS4S" }
stopDiscovery | none | msg(DiscoveryDone),name |  | { "msg" : "DiscoveryDone", "name" : "HS4S" }
connectDevice | mac | msg(Connected),address,name |  | { "msg" : "Connected", "address" : "004D32031D22", "name" : "HS4S" }
getIDPS | mac | msg(IDPS),hardwareversion,firmwareversion,address,name,accessoryname,modenumber,serialnumber,manufacture |  | { "address" : "8CDE5213E27A", "accessoryname" : "HS4S", "manufacture" : "iHealth", "hardwareversion" : "1.0.0", "modenumber" : "HS4S 11070", "serialnumber" : "8CDE5213E27A", "msg" : "IDPS", "name" : "HS4S", "firmwareversion" : "1.1.0" }
startMeasure | appsercet,unit(1:kg 2:lb 3:st),mac | msg(Realtime),address,value,name msg(Result),address,value,name |  | { "msg" : "Realtime", "address" : "004D32031D22", "value" : 20, "name" : "HS4S" } { "msg" : "Result", "address" : "004D32031D22", "value" : 30, "name" : "HS4S" }
getOfflineData | appsecret,mac | msg(History),address,history,name |  | { "msg" : "History", "address" : "004D32031D22", "history" : [{"date" :"2015-09-07 08:38:10","weight" : 7.9}, {"date" :"2015-09-07 10:03:53","weight" : 53.8}] , "name" : "HS4S" }
disConnectDevice | mac | msg(Disconnect),address,name |  | { "msg" : "Disconnect", "address" : "004D32031D22", "name" : "HS4S" }
setDisconnectCallback | none | none |  | none

## HS6
HS6
Interface methods | input | output | error | example
setWifi | none | msg(ConnectionOk),name msg(Wait),name msg(Found),name,mac,ip msg(ConnectionTimeOut),name | msg(ConnectionTimeOut),name | { "msg" : "ConnectionOk", "name" : "HS6" } { "msg" : "Wait", "name" : "HS6" } { "msg" : "Found", "name" : "HS6", "mac" : "004D32031D22", "ip" : "192.168.1.1" } { "msg" : "ConnectionTimeOut", "name" : "HS6" }